CHANGE ORDER

CO-004

| Project | Rodriguez Residence — Oak Valley Estates Lot 5, Kanarraville, UT | CO Number | CO-004 |
| --- | --- | --- | --- |
| Owner | Jessica & Adrian Rodriguez | Date | February 23, 2026 |
| Contractor | RAC Inc. | Project No. | OVE-Lot5 |
| Location | Gun Range / Panic Room — Basement Level | Trade | HVAC / Mechanical |

SCOPE OF CHANGE

| Item | Description |
| --- | --- |
| 1 — Remove | Remove ceiling cassette mini split (Mitsubishi SLZ-KF09NA.TH) from gun range. Remove associated supply and return ductwork from gun range and panic room. |
| 2 — Add | Install dedicated supply blower, electric heater, and evaporative cooler serving gun range as standalone 9th HVAC zone. |
| 3 — Add | Install high wall mini split units in gun range and panic room (2 units). |

CONTRACT VALUE

| Description | Amount | Status |
| --- | --- | --- |
| Original Contract Amount | $3,168,660.00 |  |
| CO-001 — Automatic Sliding Doors | +$20,038.95 | Approved |
| CO-002 — Gun Range Shooting System Upgrade | +$46,831.40 | Pending Signature |
| CO-003 — Solar Fence Modification | $0.00 | Pending Signature |
| CO-004 — Gun Range HVAC Modification | $0.00 | Pending Signature |
| Revised Contract Amount | $3,235,530.35 |  |

AUTHORIZATION

| Owner Approval | Contractor |
| --- | --- |
| Jessica Rodriguez / Adrian Rodriguez | Craig Engel — RAC Inc. |
| Signature: ___________________________ | Signature: ___________________________ |
| Date: ________________________________ | Date: ________________________________ |