## MTO Summary
RODRIGUEZ RESIDENCE — MATERIAL TAKE-OFF SUMMARY
Category | Material / Selection | Total SF / Qty | Unit | Vendor | Model / Color | Notes | Link
FLOORING
Flooring | Nashville Travertine 24×48 Matte Porcelain — Main | 2,587 SF | SF | Floor Nashville Travertine |  | Kitchen, Pantry, Entry, Great Rm, Powder. Per A109
Flooring | Nashville Travertine — Upper Accent | 74 SF | SF | Floor Nashville Travertine |  | Upper level accent/transition. Per A110
Flooring | Pergo Soft Oak LVP — Main | 711 SF | SF | Pergo |  | Guest suite, ADU living, halls. On Advantec 1.125 subfloor
Flooring | Pergo Soft Oak LVP — Upper | 461 SF | SF | Pergo |  | Bedrooms, halls. On Advantec 1.125 subfloor
Flooring | Carrara Giola 24×48 Polished Porcelain — Upper | 688 SF | SF | TileBar |  | Primary bath, laundry, upper wet areas. Per A110
Flooring | Carrara Giola 24×48 Polished Porcelain — Main | 95 SF | SF | TileBar |  | Office closet + basement bath. Per A109/A110
Flooring | Carpet — Basement | 949 SF | SF | TBD |  | Basement living area. Per A110
Flooring | Concrete Grind & Polish — Basement Storage | 1,023 SF | SF | RAC |  | Basement storage floor
Flooring | Landscape Paver — Exterior | 2,461 SF | SF | TBD |  | Patios, walks on road base. Per A109
Flooring | Concrete Garage Slab | 1,717 SF | SF | Randy Frei / Advanced Concrete |  | Includes Hydrotech MM6125 coating (1,697 SF)
Flooring | Westcoat Grind & Clear — Gun Range | 1,300 SF | SF | Bulletproof Synthetic Coatings |  | Diamond grind + SC primer + urethane. Contract #1914
Flooring | Hydrotech MM6125 Asphalic — Decks/Balcony | 1,368 SF | SF | Advanced Concrete |  | Asphalic membrane + 1,225 SF concrete pan deck
Flooring | EPS 2" Foam Underlayment — Main | 2,538 SF | SF | TBD |  | Subfloor insulation. Main level
Flooring | EPS 2" Foam Underlayment — Upper/Lower | 2,145 SF | SF | TBD |  | Subfloor insulation. Upper + lower
Flooring | Advantec 1.125 Subfloor — Main | 1,060 SF | SF | Advantec |  | Structural subfloor, main level
Flooring | Advantec 1.125 Subfloor — Upper | 1,260 SF | SF | Advantec |  | Structural subfloor, upper level
WALL TILE
Wall Tile | Carrara Giola 24×48 Polished Porcelain — Bath Walls | TBD | SF | TileBar |  | Primary bath + other wet walls — qty TBD from plans
COUNTERTOPS
Countertops | Kitchen — ET Calacatta Gold Polished | 163 SF | SF | Countertop Source | Silestone 3CM, eased edge, 36" miter skirt waterfall | $11,958. Quote #253908
Countertops | Pantry — ET Calacatta Gold Polished | TBD | SF | Countertop Source | Silestone 3CM polished, eased edge | $3,919
Countertops | Primary Bath | TBD | SF | Countertop Source |  | $1,535
Countertops | Primary Closet — Titanium Granite | 97 SF | SF | Countertop Source | Titanium Granite 3CM polished | Main 18 SF + Upper 79 SF. $1,582
Countertops | Laundry — Pewter | 109 SF | SF | Countertop Source | Pewter | Main 67 SF + Upper shelf 42 SF. $3,956
Countertops | Powder Bath | TBD | SF | Countertop Source |  | $587
Countertops | Office Bath | TBD | SF | Countertop Source |  | $666
Countertops | ADU Kitchen | TBD | SF | Countertop Source |  | $6,694
Countertops | ADU Bath | TBD | SF | Countertop Source |  | $697
Countertops | Basement Bath | TBD | SF | Countertop Source |  | $587
Countertops | Gun Room | TBD | SF | Countertop Source |  | $2,858
Countertops | Outdoor BBQ | TBD | SF | Countertop Source |  | $7,144
PAINT & COATINGS
Paint | Interior Paint — All Interior | TBD | SF | Jose |  | $25,300 contract
Paint | Exterior Stucco — Masterwall Medium Sand Finish | TBD | SF | BSM Residential (Sipco-BSM) |  | $57,850 base. Bid #STG25-319
Paint | Stone Veneer — Exterior | TBD | SF | Simco/BSM |  | Rock prep incl. Per stucco bid
Paint | Rammed Earth — Interior + Exterior | TBD | SF | Oliver Finishing / Clayworks |  | $30/sf int, $40/sf ext + travel. Contact: hello@oliverfinishing.com
PLUMBING FIXTURES
Plumbing | HOROW Undermount Sink | 5 | EA | HOROW | T-series undermount | ADU, Powder, Office Bath, ADU2, Primary (x2 rectangular) | ↗ Link
Plumbing | Glacier Bay 33" Drop-In Kitchen Sink | 1 | EA | Glacier Bay | VT3322D1, SS | Main kitchen | ↗ Link
Plumbing | Kohler Crue Touchless Kitchen Faucet | 2 | EA | Kohler | #22974 | Main + island. Pull-down, 3-function, touchless | ↗ Link
Plumbing | Arc Waterfall Faucet | 5 | EA | TBD |  | ADU, Powder, Office Bath, ADU2, Primary Bath
Plumbing | Moen Align Wall Mount Faucet | 1 | EA | Moen | Align Series | Garage mop sink | ↗ Link
Plumbing | HOROW Smart Toilet T05 | 6 | EA | HOROW | T05 | All baths: Primary(2), Powder, Office, Guest, Basement | ↗ Link
Plumbing | GRANDJOY Thermostatic Shower Valve | 3 | EA | GRANDJOY |  | Primary(2) + Guest bath | ↗ Link
Plumbing | Freestanding Tub | 1 | EA | TBD |  | Primary bath
Plumbing | Oatey 24" Linear Drain | 3 | EA | Oatey |  | Shower drains | ↗ Link
Plumbing | Navien Tankless WH 199K BTU | 2 | EA | Navien | NPE-240A2 | In plumbing bid. With 20' flue | ↗ Link
Plumbing | Hose Bibb w/ Vacuum Breaker | 10 | EA | TBD |  | Exterior
DOORS & WINDOWS
Doors/Windows | TruStile TMF2200 Interior Doors | 23 | EA | TruStile / Sunpro | TMF2200 MDF, Primed, Oil Rubbed Bronze | 1-3/4" thick, 8' tall, mix 30"/36"/36" pairs. 3 fire-rated. $28,215. Quote SQAQGI000175-1 | ↗ Link
Doors/Windows | Exterior Fiberglass Flush Doors | 9 | EA | Sunpro | Fiberglass Flush, Black, Bronze sill | 8x 3/0×8/0 LH + 1x 6/0×8/0 LHA. Quote #936543, $12,797
Doors/Windows | Garage Doors — Wayne Dalton 8300 | 4 | EA | Wayne Dalton / Sunpro | 8300 R12, Frosted Windows | 20×9, stacked, LiftMaster 84505R belt opener. $22,409 | ↗ Link
Doors/Windows | Strata TB Aluminum Windows & Doors | — | LOT | STG (St George Windows) | Strata Thermally Broken Aluminum | $271,419 total. Est #3692. Operable, fixed, XL, corner, curtain wall, 6 sliding doors
Doors/Windows | Interior Glass | — | LOT | RAC |  | $8,250
Doors/Windows | Vault Door | 1 | EA | Brown Safe | Estate 8030 | Panic room slide lock, bolt indicator, electronic lock | ↗ Link
APPLIANCES
Appliances | Thermador 36" Fridge Column | 1 | EA | Thermador / BlvdHome | T36IR905SP, Panel Ready | $16,140 set w/ freezer via Haley Benware @ BlvdHome | ↗ Link
Appliances | Thermador 36" Freezer Column | 1 | EA | Thermador / BlvdHome | T36IF905SP, Panel Ready | Paired with fridge column
Appliances | Thermador Double Oven | 1 | EA | Thermador / BlvdHome | MEDMC301WS, SS Masterpiece | Speed upper/convection lower, 30". $8,299 | ↗ Link
Appliances | Thermador Dishwasher | 1 | EA | Thermador / BlvdHome | DWHD640EPR, Panel Ready | FREE via 1-2-Free w/ fridge. 48 dBA, 3rd rack | ↗ Link
Appliances | Infinity Surfaces Invisible Induction | 1 | EA | Infinity Surfaces |  | Under-counter induction surface | ↗ Link
Appliances | Zephyr 48" Hood Insert | 1 | EA | Zephyr / BlvdHome | AK9446BS, SS | 700 CFM, WiFi. $1,648 | ↗ Link
Appliances | Futuro Futuro 54" Skylight Hood (ALT) | 1 | EA | Futuro Futuro |  | Ceiling soffit mount — alt to Zephyr | ↗ Link
Appliances | Zephyr 24" Beverage Center | 1 | EA | Zephyr / BlvdHome | PRB24C01CPG, Panel Ready | Under counter, single zone. $1,498
Appliances | Scotsman 15" Nugget Ice Maker | 1 | EA | Scotsman / BlvdHome | SCN60GA-1SU, Panel Ready | 80 lbs/day, $4,720 | ↗ Link
Appliances | Frigidaire Gallery Refrigerator | 1 | EA | Frigidaire / BlvdHome | GRSC2352AF, SS | ADU. Side-by-side, 22 cf. $1,225 | ↗ Link
Appliances | Frigidaire Electric Range | 1 | EA | Frigidaire / BlvdHome | FCRE3062AS, SS | ADU. 30". $748 | ↗ Link
Appliances | Frigidaire Microhood | 1 | EA | Frigidaire / BlvdHome | FMOS1745BS, SS | ADU. OTR 1.7 cf. $195 | ↗ Link
Appliances | Frigidaire Dishwasher | 1 | EA | Frigidaire / BlvdHome | FFCD2413US, SS | ADU. 24". $348 | ↗ Link
Appliances | LG Wash Tower | 1 | EA | LG / BlvdHome | WKEX200HWA, White | ADU. 4.5 cf washer + 7.4 cf dryer. $1,848
Appliances | GE Front Load Washer | 1 | EA | GE / BlvdHome | GFW655SPVDS, Carbon Graphite | Upper laundry. 5.0 cf, steam. 28" | ↗ Link
Appliances | GE Front Load Dryer | 1 | EA | GE / BlvdHome | GFD65ESPVDS, Carbon Graphite | Upper laundry. 7.8 cf, steam. Set $1,740 | ↗ Link

## Main Level
RODRIGUEZ RESIDENCE — MAIN LEVEL
Room | Finish Type | Material / Selection | SF / Qty | Unit | Vendor | Model / Color | Notes | Link
ENTRY / FOYER
| Floor | Nashville Travertine 24×48 Matte | incl. in 2,587 SF | SF | Floor Nashville Travertine |  | Per A109 main floor total
| Wall | Interior Paint | — | — | Jose |  | Paint color TBD
| Ceiling | Interior Paint | — | — | Jose |  | Paint color TBD
| Trim / Base | Base & Case | — | LF | TBD
| Rammed Earth | Rammed Earth Feature Wall | TBD | SF | Oliver Finishing / Clayworks |  | $30/sf int labor + material
GREAT ROOM / LIVING
| Floor | Nashville Travertine 24×48 Matte | incl. in 2,587 SF | SF | Floor Nashville Travertine |  | Per A109
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
| Trim / Base | Base & Case | — | LF | TBD
| Fireplace | Fireplace Unit | 1 | EA | TBD |  | Gas, per plumbing bid scope (1 of 3)
KITCHEN
| Floor | Nashville Travertine 24×48 Matte | incl. in 2,587 SF | SF | Floor Nashville Travertine |  | Per A109
| Wall | Interior Paint / Backsplash TBD | — | — | TBD
| Ceiling | Interior Paint | — | — | Jose
| Trim / Base | Base & Case | — | LF | TBD
| Countertop | ET Calacatta Gold Polished | 163 SF | SF | Countertop Source | Silestone 3CM, eased edge, waterfall | $11,958. Quote #253908
| Cabinetry | Kitchen Cabinets | — | LOT | Deez |  | $28,600
| Fixture | Glacier Bay 33" Drop-In Sink | 1 | EA | Glacier Bay | VT3322D1, SS | Includes pull-down faucet | ↗ Link
| Fixture | Kohler Crue Touchless Faucet | 2 | EA | Kohler | #22974 | Main + island | ↗ Link
| Appliance | Thermador Fridge + Freezer Columns | 2 | EA | Thermador / BlvdHome | T36IR905SP + T36IF905SP | $16,140. Via Haley Benware @ BlvdHome | ↗ Link
| Appliance | Thermador Double Oven | 1 | EA | Thermador / BlvdHome | MEDMC301WS | $8,299 | ↗ Link
| Appliance | Infinity Surfaces Invisible Induction | 1 | EA | Infinity Surfaces |  | Under counter | ↗ Link
| Appliance | Zephyr 48" Hood Insert | 1 | EA | Zephyr / BlvdHome | AK9446BS | $1,648. Alt: Futuro Futuro 54" Skylight | ↗ Link
| Appliance | Thermador Dishwasher | 1 | EA | Thermador / BlvdHome | DWHD640EPR | Free via 1-2-Free | ↗ Link
| Appliance | Zephyr 24" Beverage Center | 1 | EA | Zephyr / BlvdHome | PRB24C01CPG | $1,498
| Appliance | Scotsman 15" Nugget Ice Maker | 1 | EA | Scotsman / BlvdHome | SCN60GA-1SU | $4,720 | ↗ Link
PANTRY
| Floor | Nashville Travertine 24×48 Matte | incl. in 2,587 SF | SF | Floor Nashville Travertine |  | Per A109
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
| Countertop | ET Calacatta Gold Polished | TBD | SF | Countertop Source | Silestone 3CM | $3,919
DINING ROOM
| Floor | Nashville Travertine 24×48 Matte | incl. in 2,587 SF | SF | Floor Nashville Travertine |  | Per A109
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
| Trim / Base | Base & Case | — | LF | TBD
OFFICE
| Floor | Pergo Soft Oak LVP | incl. in 711 SF | SF | Pergo |  | Per A109
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
| Trim / Base | Base & Case | — | LF | TBD
OFFICE BATH
| Floor | Carrara Giola 24×48 Polished | 95 SF | SF | TileBar |  | Per A109 office closet
| Wall Tile | TBD | — | SF | TBD
| Ceiling | Interior Paint | — | — | Jose
| Countertop | TBD | TBD | SF | Countertop Source |  | $666
| Fixture | HOROW Undermount Sink | 1 | EA | HOROW |  |  | ↗ Link
| Fixture | Arc Waterfall Faucet | 1 | EA | TBD
| Fixture | HOROW Smart Toilet T05 | 1 | EA | HOROW | T05 |  | ↗ Link
POWDER BATH
| Floor | Nashville Travertine | incl. in 2,587 SF | SF | Floor Nashville Travertine |  | Per A109
| Wall Tile | TBD | — | SF | TBD
| Ceiling | Interior Paint | — | — | Jose
| Countertop | TBD | TBD | SF | Countertop Source |  | $587
| Fixture | HOROW Undermount Sink | 1 | EA | HOROW |  |  | ↗ Link
| Fixture | Arc Waterfall Faucet | 1 | EA | TBD
| Fixture | HOROW Smart Toilet T05 | 1 | EA | HOROW | T05 |  | ↗ Link
GUEST SUITE / CASITA BATH
| Floor | Pergo Soft Oak LVP | incl. in 711 SF | SF | Pergo |  | Per A109
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
| Fixture | Kitchen Island Sink | 1 | EA | TBD |  | Includes disposal + air switch
| Fixture | HOROW Smart Toilet T05 | 1 | EA | HOROW | T05 |  | ↗ Link
| Fixture | GRANDJOY Thermostatic Shower Valve | 1 | EA | GRANDJOY |  |  | ↗ Link
| Fixture | Oatey 24" Linear Drain | 1 | EA | Oatey
GARAGE
| Floor | Concrete + Hydrotech MM6125 Coating | 1,697 SF | SF | Advanced Concrete |  | Concrete 1,717 SF slab
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
| Door | Garage Doors — Wayne Dalton 8300 | 4 | EA | Wayne Dalton / Sunpro | 8300 R12, Frosted Windows | 20×9, LiftMaster belt drive. $22,409 | ↗ Link
| Fixture | Mop Sink | 1 | EA | TBD
| Fixture | Moen Wall Mount Faucet | 1 | EA | Moen | Align Series |  | ↗ Link
| Fixture | Hose Bibbs | — | EA | TBD |  | Exterior, 10 total project-wide
OUTDOOR / BBQ / PATIO
| Floor | Landscape Paver | 2,461 SF | SF | TBD |  | Patios, walks on road base. Per A109
| Deck | Hydrotech MM6125 Asphalic Membrane | 1,368 SF | SF | Advanced Concrete |  | Decks/balcony. + 1,225 SF concrete pan deck
| Countertop | BBQ Countertop | TBD | SF | Countertop Source |  | $7,144
| Fixture | Outdoor BBQ Sink | 1 | EA | TBD |  | Main level outdoor. Per plumbing bid
| Rammed Earth | Rammed Earth — Exterior | TBD | SF | Oliver Finishing / Clayworks |  | $40/sf + travel
| Stone | Stone Veneer — Exterior | TBD | SF | Simco/BSM |  | Rock prep incl.

## Upper Level
RODRIGUEZ RESIDENCE — UPPER LEVEL
Room | Finish Type | Material / Selection | SF / Qty | Unit | Vendor | Model / Color | Notes | Link
PRIMARY SUITE / BEDROOM
| Floor | Carrara Giola 24×48 Polished | incl. in 688 SF | SF | TileBar |  | Or Pergo — verify against plan
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
| Trim / Base | Base & Case | — | LF | TBD
| Fireplace | Fireplace Unit | 1 | EA | TBD |  | Gas, 1 of 3 per plumbing bid
PRIMARY BATH
| Floor | Carrara Giola 24×48 Polished | incl. in 688 SF | SF | TileBar |  | Per A110 — primary bath, laundry, upper wet areas
| Wall Tile | Carrara Giola 24×48 Polished | TBD | SF | TileBar |  | Shower walls — qty TBD
| Ceiling | Interior Paint | — | — | Jose
| Countertop | TBD | TBD | SF | Countertop Source |  | $1,535
| Fixture | HOROW Undermount Sink (Rectangular) | 2 | EA | HOROW | Rectangular | Per Master Plumbing bid | ↗ Link
| Fixture | Arc Waterfall Faucet | 1 | EA | TBD
| Fixture | HOROW Smart Toilet T05 | 2 | EA | HOROW | T05 | 2 toilets per plumbing bid | ↗ Link
| Fixture | GRANDJOY Thermostatic Shower Valve | 2 | EA | GRANDJOY |  | 2 showers per plumbing bid | ↗ Link
| Fixture | Freestanding Tub | 1 | EA | TBD
| Fixture | Tub Filler | 1 | EA | TBD
| Fixture | Oatey 24" Linear Drain | 2 | EA | Oatey |  | Per shower count
PRIMARY CLOSET
| Floor | TBD | TBD | SF | TBD
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
| Countertop | Titanium Granite — Natural Stone | 97 SF | SF | Countertop Source | 3CM polished, eased edge | Main 18 SF + Upper 79 SF. $1,582
BEDROOM 2
| Floor | Pergo Soft Oak LVP — Upper | incl. in 461 SF | SF | Pergo |  | Per A110
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
| Trim / Base | Base & Case | — | LF | TBD
BEDROOM 3
| Floor | Pergo Soft Oak LVP — Upper | incl. in 461 SF | SF | Pergo |  | Per A110
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
| Trim / Base | Base & Case | — | LF | TBD
UPPER BATH
| Floor | Carrara Giola 24×48 Polished | incl. in 688 SF | SF | TileBar |  | Per A110
| Wall Tile | TBD | — | SF | TBD
| Ceiling | Interior Paint | — | — | Jose
| Fixture | HOROW Undermount Sink | 1 | EA | HOROW |  |  | ↗ Link
| Fixture | HOROW Smart Toilet T05 | 1 | EA | HOROW | T05 |  | ↗ Link
| Fixture | Shower Valve | 1 | EA | TBD
| Fixture | Oatey 24" Linear Drain | 1 | EA | Oatey
UPPER LAUNDRY
| Floor | Carrara Giola 24×48 Polished | incl. in 688 SF | SF | TileBar |  | Per A110
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
| Countertop | Pewter — Upper Shelf | 42 SF | SF | Countertop Source | Pewter | Upper shelf. Total laundry countertop $3,956
| Fixture | Laundry Sink | 1 | EA | TBD |  | Per plumbing bid
| Appliance | GE Front Load Washer | 1 | EA | GE / BlvdHome | GFW655SPVDS, Carbon Graphite | 5.0 cf, steam, 28" | ↗ Link
| Appliance | GE Front Load Dryer | 1 | EA | GE / BlvdHome | GFD65ESPVDS, Carbon Graphite | 7.8 cf, steam, 28". Set $1,740 | ↗ Link

## Basement
RODRIGUEZ RESIDENCE — BASEMENT
Room | Finish Type | Material / Selection | SF / Qty | Unit | Vendor | Model / Color | Notes | Link
BASEMENT LIVING / THEATER
| Floor | Carpet | 949 SF | SF | TBD |  | Per A110 basement living
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
| Trim / Base | Base & Case | — | LF | TBD
| Fireplace | Fireplace Unit | 1 | EA | TBD |  | Gas, 1 of 3 per plumbing bid
BASEMENT STORAGE / UTILITY
| Floor | Concrete Grind & Polish | 1,023 SF | SF | RAC
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
BASEMENT BATH
| Floor | Carrara Giola 24×48 Polished | 29 SF | SF | TileBar |  | Per A110
| Wall Tile | TBD | — | SF | TBD
| Ceiling | Interior Paint | — | — | Jose
| Countertop | TBD | TBD | SF | Countertop Source |  | $587
| Fixture | HOROW Undermount Sink | 1 | EA | HOROW |  |  | ↗ Link
| Fixture | HOROW Smart Toilet T05 | 1 | EA | HOROW | T05 |  | ↗ Link
GUN RANGE / GUN ROOM
| Floor | Westcoat Grind & Clear | 1,300 SF | SF | Bulletproof Synthetic Coatings |  | Diamond grind + SC primer + urethane. Contract #1914. $6,500
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
| Countertop | Gun Room Countertop | TBD | SF | Countertop Source |  | $2,858
| Vault Door | Brown Safe Estate 8030 | 1 | EA | Brown Safe | Estate 8030 | Panic room slide lock, bolt indicator, electronic lock | ↗ Link
| Range System | Action Target Range System | 1 | LOT | Action Target |  | $104,500
MECHANICAL ROOM
| Floor | Concrete | — | SF | TBD
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
| Equipment | Navien NPE-240A2 Tankless WH | 2 | EA | Navien | NPE-240A2 | 199K BTU each. In plumbing bid | ↗ Link
| Equipment | Water Softener | 1 | EA | TBD |  | Rough-in only per plumbing bid
| Equipment | Whole House Filtration | 1 | EA | TBD |  | Rough-in only per plumbing bid
| Equipment | HVAC — Furnace + AC | — | LOT | Dash HVAC |  | $40,700 contract

## ADU - Casita
RODRIGUEZ RESIDENCE — ADU - CASITA
Room | Finish Type | Material / Selection | SF / Qty | Unit | Vendor | Model / Color | Notes | Link
ADU LIVING / HALL
| Floor | Pergo Soft Oak LVP | incl. in 711 SF | SF | Pergo |  | Per A109
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
| Trim / Base | Base & Case | — | LF | TBD
ADU KITCHEN
| Floor | Pergo Soft Oak LVP | incl. in 711 SF | SF | Pergo
| Wall | Interior Paint / Backsplash TBD | — | — | TBD
| Ceiling | Interior Paint | — | — | Jose
| Countertop | ADU Kitchen Countertop | TBD | SF | Countertop Source |  | $6,694
| Fixture | Guest Kitchenette Sink | 1 | EA | TBD |  | Incl. disposal + air switch + icemaker line
| Appliance | Frigidaire Gallery Refrigerator | 1 | EA | Frigidaire / BlvdHome | GRSC2352AF, SS | $1,225 | ↗ Link
| Appliance | Frigidaire Electric Range | 1 | EA | Frigidaire / BlvdHome | FCRE3062AS, SS | $748 | ↗ Link
| Appliance | Frigidaire Microhood | 1 | EA | Frigidaire / BlvdHome | FMOS1745BS, SS | $195 | ↗ Link
| Appliance | Frigidaire Dishwasher | 1 | EA | Frigidaire / BlvdHome | FFCD2413US, SS | $348 | ↗ Link
ADU BATH 1
| Floor | TBD | TBD | SF | TBD
| Wall Tile | TBD | — | SF | TBD
| Ceiling | Interior Paint | — | — | Jose
| Countertop | ADU Bath Countertop | TBD | SF | Countertop Source |  | $697
| Fixture | HOROW Undermount Sink | 1 | EA | HOROW |  |  | ↗ Link
| Fixture | Arc Waterfall Faucet | 1 | EA | TBD
| Fixture | HOROW Smart Toilet T05 | 1 | EA | HOROW | T05 |  | ↗ Link
ADU BATH 2
| Floor | TBD | TBD | SF | TBD
| Wall Tile | TBD | — | SF | TBD
| Ceiling | Interior Paint | — | — | Jose
| Fixture | HOROW Undermount Sink | 1 | EA | HOROW |  |  | ↗ Link
| Fixture | Arc Waterfall Faucet | 1 | EA | TBD
| Fixture | HOROW Smart Toilet T05 | 1 | EA | HOROW | T05 |  | ↗ Link
ADU LAUNDRY
| Floor | TBD | TBD | SF | TBD
| Wall | Interior Paint | — | — | Jose
| Ceiling | Interior Paint | — | — | Jose
| Appliance | LG All-In-One Wash Tower | 1 | EA | LG / BlvdHome | WKEX200HWA, White | 4.5 cf washer + 7.4 cf dryer, steam. 27". $1,848
| Fixture | Dog Wash | 1 | EA | TBD |  | Per plumbing bid