# Single-Panel Solar Fence — RFP Summary

Project: One (1) single-panel solar fence at well pump area

Location: Near 2000 gal water collection / 5 HP pump

Orientation: East–West

Contract: Time and material (T&M); rest of fence to be defined later

Owner provides: Solar panel (per 705 panel detail); optional detail for post connection (sunk or base plate).

Contractor provides: Footings (or Owner by agreement), posts, framing, L-angle welded to post, all labor and materials.

Post options: (A) Sink posts in concrete (B) Base plate with bolt holes (Owner supplies detail).

Panel attachment: L-angle (e.g. 0.75" × 2.5") bolted to panel mounting holes (M8, 5–Φ11), welded to fence post.

Finish: No powder coat; steel may rust/weather. Steel type by Contractor.

Drawings: 705 panel detail, site plan, structural section, EGING panel/mounting specs.

Full scope and proposal format: see RFP - Solar Fence - Well Water System.docx.