REQUEST FOR PROPOSAL

CABINETRY - FURNISH AND INSTALL

| Project: | Rodriguez Residence |
| --- | --- |
| Location: | Oak Valley Estates Lot 5, Kanarraville, UT 84742 |
| Owner: | ARJR Kanarraville Holdings, LLC |
| GC: | RAC Inc |
| Size: | 6,993 SF custom home with basement, ADU, and 4-car garage |
| RFP Issue Date: | February 3, 2026 |
| Bids Due: | February 17, 2026 by 5:00 PM |

## SCOPE OF WORK

Furnish and install all cabinetry per approved plans, shop drawings, and specifications. Scope includes fabrication, delivery, and complete installation of all cabinets, panels, and accessories.

MAIN KITCHEN

- Base cabinets with soft-close drawers and doors

- Wall cabinets to ceiling height

- Island cabinetry with waterfall end panels

- Pantry cabinets with pull-out shelving

- Appliance panels for 72" refrigerator, dishwasher, beverage center, and ice maker

- Trash/recycling pull-out cabinet

ADU/CASITA KITCHEN

- Base and wall cabinets

- Island with waterfall countertop panel

- Appliance panels as required

MASTER BATHROOM - UPPER LEVEL

- Double vanity cabinet (96" wide)

- Linen tower/storage cabinets

UPPER WEST BATHROOM

- Double vanity with split sinks (30" + 18" + 18" + 30")

POWDER BATH - MAIN LEVEL

- Single vanity cabinet

BATH 2 - MAIN LEVEL

- Single vanity cabinet

GUEST SUITE BATH / ADU BATH

- Vanity cabinet with storage

OFFICE BATH

- Single vanity (37" wide)

BASEMENT BATH

- Single vanity cabinet

LAUNDRY ROOM

- Upper and base cabinets

- Countertop area for folding

CLOSETS

- Master closet built-ins

- Hall/bedroom closet systems as specified

## SPECIFICATIONS

- Cabinet construction: Plywood box, dovetail drawer construction

- Door style: Per owner selection (shaker or flat panel)

- Finish: Paint grade (color TBD by owner)

- Hardware: Soft-close hinges and drawer slides throughout

- Pulls/knobs: Provided and installed by cabinet contractor

## EXCLUSIONS

- Countertops (by separate contract)

- Appliances

- Plumbing and electrical connections

- Backsplash tile

## BID REQUIREMENTS

- Provide itemized bid by room/area

- Include shop drawings with bid

- Specify lead time from approval to delivery

- Include payment schedule

- Provide warranty terms

- Include proof of Utah contractor license and insurance

## PLANS & SPECIFICATIONS

Plans and preliminary shop drawings are available at:

https://drive.google.com/drive/folders/1kS-2awScLDAnGS973xD0D28RxynI49Si

## CONTACT

Craig Engel

RAC Inc

racinc19@gmail.com

435-229-7360