CHANGE ORDER

CO-003

| Project | Rodriguez Residence — Oak Valley Estates Lot 5, Kanarraville, UT | CO Number | CO-003 |
| --- | --- | --- | --- |
| Owner | Jessica & Adrian Rodriguez | Date | February 20, 2026 |
| Contractor | RAC Inc. | Contract Value | $3,168,660.00 |
| Subcontractor | Cannonball Welding | Cost Impact | $0.00 — No Cost Change |

DESCRIPTION OF CHANGE

| Item | Original | Revised |
| --- | --- | --- |
| Solar Fence — Panel Count | 38 panels | 31 panels |
| Solar Fence — System Voltage | 650 V | 705 V |

Reason for Change:

Solar fence design modified to allow for wind load. Panel count reduced from 38 to 31 panels; system voltage increased from 650 V to 705 V to maintain energy output with fewer panels.

COST SUMMARY

| Previous Contract Amount | $3,168,660.00 |
| --- | --- |
| This Change Order Amount | $0.00 |
| Revised Contract Amount | $3,168,660.00 |

AUTHORIZATION

| Owner / Authorized Representative |  | Contractor — RAC Inc. |
| --- | --- | --- |
| Signature |  | Signature |
| Printed Name & Date |  | Craig Engel — RAC Inc. / Date |