REQUEST FOR PROPOSAL

PLUMBING - LABOR AND MATERIALS

| Project: | Rodriguez Residence |
| --- | --- |
| Location: | Oak Valley Estates Lot 5, Kanarraville, UT 84742 |
| Owner: | ARJR Kanarraville Holdings, LLC |
| GC: | RAC Inc |
| Size: | 6,993 SF custom home with basement, ADU, and 4-car garage |
| RFP Issue Date: | February 3, 2026 |
| Bids Due: | February 17, 2026 by 5:00 PM |

## SCOPE OF WORK

Provide all labor and materials to complete the plumbing system per approved plans, specifications, and applicable codes. Scope includes rough-in, top-out, and trim-out phases. All fixtures provided by GC unless otherwise noted.

KITCHEN - MAIN LEVEL

- (1) Kitchen Sink with disposal and hot/cold supply

- (1) Icemaker line to refrigerator

ISLAND - MAIN LEVEL

- (1) Kitchen Sink with disposal and airswitch

OUTDOOR BBQ - MAIN LEVEL

- (1) Kitchen Sink

GUEST SUITE KITCHENETTE - MAIN LEVEL (ADU)

- (1) Kitchen Sink with disposal and airswitch

- (1) Icemaker line to refrigerator

MASTER BATH - UPPER LEVEL

- (2) Showers with shower valves

- (1) Freestanding Tub with floor-mount filler

- (2) Lavatory sinks

- (2) Toilets

POWDER BATH - MAIN LEVEL

- (1) Lavatory sink

- (1) Toilet

BATH 2 - MAIN LEVEL

- (1) Shower

- (1) Lavatory sink

- (1) Toilet

GUEST SUITE BATH - MAIN LEVEL

- (1) Shower

- (1) Lavatory sink

- (1) Toilet

BASEMENT BATH

- (1) Lavatory sink

- (1) Toilet

UTILITIES & MECHANICAL

- (1) Laundry Sink - upper level

- (1) Dog wash station

- (2) Washing machine hook-up boxes with supply and drain

- (1) Water Main with PRV

- (2) Navien Tankless water heaters, 199,000 BTU, with service valves and 20' flue piping

- (1) Hot water circulation system including underground hot water loop

- (1) Water softener - rough and install (fixture provided by GC)

- (1) Whole house filtration system - rough and install (fixture provided by GC)

- (10) Hosebibbs with vacuum breaker

- Gas piping to: (2) tankless water heaters, (3) fireplaces, (1) BBQ stub

- (11) Roof drains with overflow for single-story drop

- Sewer and water main to stub out of house

## EXCLUSIONS

- Septic tank and leach field (by sitework contractor)

- Water line from main to house (by sitework contractor)

- Extra deep sewer installation (by excavation contractor)

- Concrete core drilling

- Backfill of underground plumbing trenches

- Sand bedding material

## OPTIONS - PRICE SEPARATELY

- Sewer ejector pump (if required)

- Backwater valve

## BID REQUIREMENTS

- Provide itemized bid with labor and materials breakdown

- Include payment schedule by phase (rough-in, top-out, trim)

- Provide proof of Utah contractor license and insurance

- Include warranty terms

- Specify lead time from notice to proceed

## PLANS & SPECIFICATIONS

Plans are available at:

https://drive.google.com/drive/folders/1kS-2awScLDAnGS973xD0D28RxynI49Si

## CONTACT

Craig Engel

RAC Inc

racinc19@gmail.com

435-229-7360