## SUMMARY
RODRIGUEZ RESIDENCE — ELECTRICAL TAKEOFF SUMMARY
Oak Valley Estates Lot 5 ¦ RAC Development ¦ 3/5/2026
Section | Supply Total | Notes
1. Lighting Fixtures |  | 24V recess can qty needs entry
2. Outlets & Devices — Main
3. Outlets & Devices — Upper
4. Outlets & Devices — Basement
5. Switches & Dimmers
6. Electrical Boxes
7. Wire & Cable
8. Panels & Controls
9. Consumables
TOTAL SUPPLY COST
Estimated Installed (supply x 2.5)

## 1-Lighting
1-LIGHTING
# | Item / Description | Manufacturer | Model / Part # | Qty | Unit | Unit Price | Extended | Notes
1 | 3.5" Recessed Wash — Main | Focal Point | FP3.5 / 7W | 14 | ea | 185 |  | E102
2 | 3.5" Recessed Wash — Upper/Lower | Focal Point | FP3.5 / 7W | 129 | ea | 185 |  | E103
3 | 3.5" Recessed Wash — Basement | Focal Point | FP3.5 / 7W | 2 | ea | 185 |  | E103
4 | Motion Flush Recessed — Main | XAL | XAL M / 12W | 13 | ea | 225 |  | E102
5 | Motion Flush Recessed — Upper/Lower | XAL | XAL M / 12W | 9 | ea | 225 |  | E103
6 | Motion Flush Recessed — Basement | XAL | XAL M / 12W | 1 | ea | 225 |  | E103
7 | Laundry Recessed Light | XAL | XAL Laundry / 7W | 4 | ea | 150 |  | E103 Lvl 12
8 | LED Strip Pendant | Fly Achilles | Minimalist 16W | 2 | ea | 500 |  | E103
9 | A-Tube Pendant | Lightology | A Tubes / 12W | 4 | ea | 350 |  | E103
10 | Smart Mirror (elec connection) | — | — | 1 | ea | 800 |  | E103 Basement
11 | IP65 RGBW LED Strip 24V | — | — | 934 | LF | 8 |  | 812 LF measured E102+E103 dims +15% waste
12 | 24V RGBW Recessed Can | — | — | 0 | ea | 65 |  | >>> ENTER QTY FROM E102/E104 SCHEDULE <<<
SUBTOTAL — 1-Lighting

## 2-Outlets Main
2-OUTLETS MAIN
# | Item / Description | Manufacturer | Model / Part # | Qty | Unit | Unit Price | Extended | Notes
1 | Duplex Outlet 15A/120V | Leviton | 5320-W | 32 | ea | 8
2 | GFCI Outlet 20A — Countertop | Leviton | GFNT2-W | 14 | ea | 20
3 | GFCI Outlet 20A — Island | Leviton | GFNT2-W | 4 | ea | 20
4 | Floor Outlet (in-floor box) | Hubbell | S1CTRNIBK | 7 | ea | 65
5 | Range Outlet 50A/240V | Leviton | 5051-S | 5 | ea | 25
6 | Stack Outlet 30A/240V | Leviton | 4700-S | 3 | ea | 20
7 | Weatherproof GFCI Outlet | Leviton | GFWF1-W | 9 | ea | 30
8 | Microwave Outlet 20A/120V | Leviton | 5362-W | 1 | ea | 15
9 | Communication/Duplex Outlet | LeGrand | Cat9 & 120 duplex | 10 | ea | 45
10 | LAN Drop Cat6A | RAC | LAN1 | 14 | ea | 35
11 | Axion 8" Android PoE Touch Screen | Axion | 8" PoE Android | 4 | ea | 450
SUBTOTAL — 2-Outlets Main

## 3-Outlets Upper
3-OUTLETS UPPER
# | Item / Description | Manufacturer | Model / Part # | Qty | Unit | Unit Price | Extended | Notes
1 | Duplex Outlet 15A/120V | Leviton | 5320-W | 11 | ea | 8
2 | GFCI Outlet — Countertop | Leviton | GFNT2-W | 1 | ea | 20
3 | GFCI Outlet — Island | Leviton | GFNT2-W | 2 | ea | 20
4 | Ceiling Outlet | Leviton | 5320-W | 1 | ea | 15
5 | Dryer Outlet 30A/240V | Leviton | 4700-S | 1 | ea | 20
6 | Hybrid Water Heater Outlet 240V | Leviton | 5051-S | 1 | ea | 20
7 | Weatherproof Outlet | Leviton | GFWF1-W | 4 | ea | 30
8 | Communication/Duplex Outlet | LeGrand | Cat9 & 120 duplex | 4 | ea | 45
9 | LAN Drop Cat6A | RAC | LAN1 | 5 | ea | 35
10 | Axion 8" Android PoE Touch Screen | Axion | 8" PoE Android | 3 | ea | 450
SUBTOTAL — 3-Outlets Upper

## 4-Outlets Basement
4-OUTLETS BASEMENT
# | Item / Description | Manufacturer | Model / Part # | Qty | Unit | Unit Price | Extended | Notes
1 | Duplex Outlet 15A/120V | Leviton | 5320-W | 10 | ea | 8
2 | GFCI Outlet — Countertop | Leviton | GFNT2-W | 3 | ea | 20
3 | Ceiling Outlet | Leviton | 5320-W | 3 | ea | 15
4 | Communication/Duplex Outlet | LeGrand | Cat9 & 120 duplex | 1 | ea | 45
5 | LAN Drop Cat6A | RAC | LAN1 | 3 | ea | 35
6 | Axion 8" Android PoE Touch Screen | Axion | 8" PoE Android | 1 | ea | 450
SUBTOTAL — 4-Outlets Basement

## 5-Switches & Dimmers
5-SWITCHES & DIMMERS
# | Item / Description | Manufacturer | Model / Part # | Qty | Unit | Unit Price | Extended | Notes
1 | Smart Dimmer LVC Wall Controller | Leviton | DDL06-1LZ | 11 | ea | 65 |  | LVC: P1x3 P2x3 P3x4 P4x1
2 | Smart Switch Module LVM Load Ctrl | Leviton | DSL06-1LZ | 23 | ea | 55 |  | LVM: P1x7 P2x5 P3x4 P4x7
3 | Smart Dimmer LVD in-line | Leviton | DDL06-1LZ | 2 | ea | 65 |  | P1-LVD-1, P3-LVD-1
4 | LVS Scene Controller | Leviton | 5631-1LW | 3 | ea | 75 |  | P4-LVS-1/2/3
5 | 15A Single-Pole Switch | Leviton | M12-01421-2WS | 15 | ea | 6 |  | Utility/non-dimmed
6 | 3-Way Switch | Leviton | M12-05603-2WS | 16 | ea | 9 |  | Corridors/stairs
7 | 4-Way Switch | Leviton | M12-05604-2WS | 4 | ea | 14 |  | Long runs
8 | 20A Single-Pole Switch (fans/motors) | Leviton | M12-01221-2WS | 6 | ea | 10 |  | Fans/exhaust
9 | Switch Plate Single-Gang Decora | Leviton | 80401-W | 30 | ea | 3
10 | Switch Plate Double-Gang Decora | Leviton | 80409-W | 20 | ea | 4
11 | Switch Plate Triple-Gang Decora | Leviton | 80411-W | 10 | ea | 5
12 | Low-Voltage Switch Box | Carlon | B114R-UPC | 60 | ea | 1.5 |  | All switch locations
SUBTOTAL — 5-Switches & Dimmers

## 6-Electrical Boxes
6-ELECTRICAL BOXES
# | Item / Description | Manufacturer | Model / Part # | Qty | Unit | Unit Price | Extended | Notes
1 | Single-Gang Device Box plastic | Carlon | B114R | 180 | ea | 1.5 |  | All device locations
2 | Double-Gang Device Box | Carlon | B217R | 40 | ea | 2.25 |  | Multi-device
3 | 4" Square Junction Box | Steel City | 52151-1/2 | 60 | ea | 3.5 |  | Junction/splice
4 | 4" Octagonal Ceiling Box | Raco | 0180 | 170 | ea | 3.25 |  | Each ceiling fixture
5 | Floor Outlet Box in-slab | Hubbell | S1CTRNIBK | 7 | ea | 85 |  | Matches floor outlets
6 | Panel Enclosure 42-circuit | Leviton | LP420 | 4 | ea | 350 |  | P1-P4
7 | Low-Voltage Ring Bracket | Carlon | LVB1 | 80 | ea | 1.25 |  | LAN/AV/comm
SUBTOTAL — 6-Electrical Boxes

## 7-Wire & Cable
7-WIRE & CABLE
# | Item / Description | Manufacturer | Model / Part # | Qty | Unit | Unit Price | Extended | Notes
1 | 12/2 NM-B Romex 15A circuits | Southwire | 28829022 | 2000 | ft | 0.48 |  | General lighting/outlets
2 | 12/3 NM-B 20A multi-wire | Southwire | 28831022 | 500 | ft | 0.72 |  | MWBC circuits
3 | 10/2 NM-B 30A circuits | Southwire | 28833022 | 400 | ft | 0.85 |  | Dryer/WH/AC
4 | 8/2 NM-B 40A circuits | Southwire | — | 200 | ft | 1.4 |  | Range/oven/EV
5 | 6/2 NM-B 50A circuits | Southwire | — | 150 | ft | 2.1 |  | Range/pizza oven
6 | 14/2 NM-B low-load lighting | Southwire | 28827022 | 500 | ft | 0.35
7 | Cat6A UTP bulk | Belden | 10GXE00 | 3000 | ft | 0.55 |  | LAN/PoE — 50ft avg x 60 drops
8 | 18/2 Thermostat Wire | Southwire | 56422445 | 500 | ft | 0.22 |  | HVAC controls x13
9 | Low-Voltage 24V DC Wire 14AWG | — | — | 2000 | ft | 0.3 |  | LED strip/transformer runs
10 | Speaker/AV Cable 16/4 | — | — | 500 | ft | 0.4 |  | AV locations
11 | 3/4" EMT Conduit | Allied | — | 200 | ft | 1.2 |  | Exposed/garage/mech
12 | 1" EMT Conduit | Allied | — | 100 | ft | 2.1 |  | Panel feeds
SUBTOTAL — 7-Wire & Cable

## 8-Panels & Controls
8-PANELS & CONTROLS
# | Item / Description | Manufacturer | Model / Part # | Qty | Unit | Unit Price | Extended | Notes
1 | Leviton Load Center w/ Smart Breakers | Leviton | LP420-42 | 2 | ea | 1200 |  | Main panels
2 | Leviton 28" Media Center | Leviton | 47605-28W | 1 | ea | 450
3 | Shelly PM4 4-ch power monitor | Shelly | PM4 | 4 | ea | 50 |  | Per panel
4 | Shelly RGBW Plus | Shelly | RGBW2 | 8 | ea | 45
5 | Shelly Dual Cover module | Shelly | Plus 2PM | 6 | ea | 35
6 | MeanWell HDR-150-24 3A DIN | MeanWell | HDR-150-24 | 3 | ea | 55
7 | MeanWell HDR-240-24 10A DIN | MeanWell | HDR-240-24 | 9 | ea | 75
8 | MeanWell HDR-320-24 13.3A DIN | MeanWell | HDR-320-24 | 9 | ea | 95
9 | MeanWell HDR-360-24 15A DIN | MeanWell | HDR-360-24 | 1 | ea | 110
10 | MeanWell HDR-480-24 20A DIN | MeanWell | HDR-480-24 | 10 | ea | 130
11 | 24V Fused Distribution Block | Wago | — | 8 | ea | 65 |  | 2 per panel
12 | Homey Pro 2023 smart hub | Athom | Homey Pro | 1 | ea | 300
13 | POE Switch managed | — | — | 1 | ea | 180
14 | 40A/240V Circuit Breaker | Leviton | — | 4 | ea | 25
15 | 30A/240V Circuit Breaker | Leviton | — | 6 | ea | 18
16 | 20A/120V Circuit Breaker | Leviton | — | 30 | ea | 12
17 | 15A/120V Circuit Breaker | Leviton | — | 20 | ea | 10
18 | HVAC Disconnect 60A | Square D | DU222RB | 13 | ea | 45 |  | E100
19 | Smoke Detector hardwired | Kidde | — | 9 | ea | 35
SUBTOTAL — 8-Panels & Controls

## 9-Consumables
9-CONSUMABLES
# | Item / Description | Manufacturer | Model / Part # | Qty | Unit | Unit Price | Extended | Notes
1 | Wago 221-412 2-pos connector | Wago | 221-412 | 200 | ea | 0.45
2 | Wago 221-413 3-pos connector | Wago | 221-413 | 200 | ea | 0.55
3 | Wire Nut Assortment | Ideal | 30-1721 | 2 | bag | 18
4 | Cable Staple 1/2" NM | Gardner Bender | — | 500 | ea | 0.08
5 | Cable Staple 3/4" NM | Gardner Bender | — | 200 | ea | 0.1
6 | Romex Connector 1/2" | Halex | — | 150 | ea | 0.65
7 | Romex Connector 3/4" | Halex | — | 50 | ea | 0.85
8 | EMT Connector 3/4" | Raco | — | 30 | ea | 1.2
9 | EMT Connector 1" | Raco | — | 20 | ea | 1.8
10 | Electrical Tape 10-pk | Scotch | Super 33+ | 4 | pk | 14
11 | Wire Stripper/Cutter | Klein | 11057 | 2 | ea | 45
12 | Voltage Tester | Klein | NCVT-3P | 2 | ea | 35
13 | Low-Voltage Staple Gun | Klein | VDV900-100 | 1 | ea | 95 |  | Cat6A/AV
14 | Fish Tape 50ft | Klein | 56350 | 1 | ea | 65
15 | Cable Puller Lubricant | Ideal | 31-358 | 2 | qt | 22
16 | Blank Cover Plates | Leviton | — | 30 | ea | 1.5
17 | Duplex Cover Plates | Leviton | — | 80 | ea | 2.25
18 | GFCI Cover Plates | Leviton | — | 30 | ea | 3
19 | Data Keystone Jack Cat6A | Belden | AX104147 | 60 | ea | 8.5 |  | All LAN drops
20 | Surface Raceway Kit | Wiremold | 700 Series | 2 | kit | 85
SUBTOTAL — 9-Consumables