REQUEST FOR PROPOSAL

EXCAVATOR / CIVIL  —  Well Water System — Site Work

Rodriguez Residence — Maine Property

Owner / Developer:  RAC Development | Craig Engel

Date Issued:  March 05, 2026

Response Due:  ___________________________

Contact:  ___________________________

# Project Overview

RAC Development is soliciting bids for remaining civil and excavation work associated with the solar-powered well water and storage system at the Rodriguez residence in Maine.

NOTE: Trench (288 ft, 36" deep) is already excavated and complete. Do not include trench work in bid.

## Scope of Work — Wellhead Vault

Excavate and prepare wellhead vault location

Set precast concrete vault or approved equivalent enclosure

Install access hatch with tamper-resistant hardware

Backfill and compact to finished grade

## Scope of Work — 1,000 Gallon Storage Tank (Buried)

Excavate for buried 1,000 gal tank near wellhead

Set tank level on prepared base

Install access riser and watertight access hatch at grade

Tie in supply and return lines

Backfill and compact around tank

## Scope Exclusions

Trench is complete — no trench work

No electrical work of any kind

No plumbing connections at the house

Supply line stub-out at house foundation only — plumber connects

## Bid Requirements

Lump sum price broken out by: (1) Wellhead Vault, (2) Storage Tank

Estimated duration and crew size

List of similar completed projects

Proof of insurance and license

Payment terms

# Questions & Submittals

Submit all questions and bids in writing to the contact above by the Response Due date.

Company Name:  ___________________________

Signature:  ___________________________

Date:  ___________________________

License #:  ___________________________

Lump Sum Bid Amount:  ___________________________