RAC INCORPORATED

Craig Engel, General Contractor

1267 N 1390 W, Saint George, UT 84770   |   (435) 229-7360   |   racinc19@gmail.com

CHANGE ORDER CO-013

Aquor House Hydrant Upgrade — Zero Markup

| Project: | Rodriguez Residence – Oak Valley Estates Lot 5 | Date: | April 23, 2026 |
| --- | --- | --- | --- |
| Owner: | Mr. & Mrs. Rodriguez | CO Number: | CO-013 |
| Location: | 746 S Liberty Lane, Kanarraville, UT 84742 | Contract Value: | $1,720.00 |

COST IMPACT: This is a zero-markup change order. Owner pays exact material cost only.

SCOPE SUMMARY

| Item | Description | Cost | Total |
| --- | --- | --- | --- |
| Aquor House Hydrant V2+ | Upgrade all (8) exterior hose bibs from standard frost-free sillcocks to Aquor House Hydrant V2+ (Brushed Stainless Steel) with quick-connect and built-in vacuum breaker. See plumbing plan P100 for locations. | $1,720.00 | $1,720.00 |

COST BREAKDOWN

| Item | Amount |
| --- | --- |
| Aquor House Hydrant V2+, Brushed Stainless Steel (8 units × $215.00) | $1,720.00 |
| TOTAL CHANGE ORDER | $1,720.00 |

AUTHORIZATION & OWNER APPROVAL

By signing below, Owner authorizes RAC Incorporated to proceed with the Aquor House Hydrant upgrade described in Change Order CO-013. This is a zero-markup, pass-through cost change order. This change order becomes part of the contract documents upon execution.

| ___________________________ |  | ___________________________ |
| --- | --- | --- |
| Craig Engel — RAC Incorporated |  | Owner — Rodriguez Residence |
| General Contractor |  | Date: ___________________ |